1
A SCADA (supervisory control and data acquisition) is an automation control system that is used in industries such as energy, oil and gas, water, power, and many more. The system has a centralized system that monitors and controls entire sites, ranging from an industrial plant to a complex of plants across the country.
2
The SCADA system has a lot of advantages, namely:
- Continuous Information at Operator Workstations
- Automatic Control
- Remote Control
- Alarming/Paging
- Online Monitoring
- etc…
3
The SCADA system is designed primarily to optimize processes, less personnel is needed, and information is quickly sent from the entire plant to a single point, where it is recorded in the database and can automatically trigger an alarm in case of problems.
4
Scada система имеет превосходство над SPS(Programmable logic controller):
- Remote SCADA users can now view and control real-time plant floor operations data from any device
- Available anywhere only internet connection is needed
- Multi platform services available on smart phones, tablets, PC etc
5
The HMI processes data from each tag and sends it to a human operator, where he or she then can monitor or control the system. The supervisory system gathers the data sent from each tag and sends commands or operations to the process. The RTUs connect sensors and convert their signals to digital data and send it to the supervisory system, where it can be stored in a distributed database. PLCs are used as field devices because they are much more versatile and economical than process-specific RTUs. Finally, the communication infrastructure delivers connectivity to the supervisory system and then to the RTUs and PLCs for the user to command.